## Overall Reserves
Todays Date | 2021-09-12 | 2021 |  | User Input
Number of Customers | 140
Cost Inflation Rate | 2%
Asset Description | Asset Life (years) | Year Installed | Age (years) | Remaining Life (years) | Replacement Cost $$$ (2021) | Replacement Cost $$$ (Future) | Amortized Cost/Year (Todays $$) | Reserve $$$ Needed Today | Amortized Cost/Year (Future $$) | Reserve $$$ Needed (Future)
Well #1 | 40 | 2002 | 19 | 21 | 100000 | 151566.6344 | 2500 | 47500 | 3789.1659 | 71994.1513
Pump and Motor #1 | 20 | 2021 | 0 | 20 | 25000 | 37148.6849 | 1250 | 0 | 1857.4342 | 0
Well #2 | 40 | 1986 | 35 | 5 | 100000 | 110408.0803 | 2500 | 87500 | 2760.202 | 96607.0703
Pump and Pump Motor #2 | 20 | 2008 | 13 | 7 | 25000 | 28717.1417 | 1250 | 16250 | 1435.8571 | 18666.1421
Well #3 | 40 | 2003 | 18 | 22 | 100000 | 154597.9671 | 2500 | 45000 | 3864.9492 | 69569.0852
Pump and Pump Motor #3 | 20 | 2003 | 18 | 2 | 25000 | 26010 | 1250 | 22500 | 1300.5 | 23409
Tank #1 (100,000 gallon) | 50 | 2007 | 14 | 36 | 250000 | 509971.8359 | 5000 | 70000 | 10199.4367 | 142792.1141
Tank #2 (100,000 gallon) | 50 | 2006 | 15 | 35 | 250000 | 499972.3882 | 5000 | 75000 | 9999.4478 | 149991.7164
Tank Valves 6" x 50 | 50 | 1990 | 31 | 19 | 100000 | 145681.1173 | 2000 | 62000 | 2913.6223 | 90322.2927
Well and Pump Control Systems | 20 | 2010 | 11 | 9 | 25000 | 29877.3142 | 1250 | 13750 | 1493.8657 | 16432.5228
Generator and Back-up Power | 20 | 2010 | 11 | 9 | 60000 | 71705.5541 | 3000 | 33000 | 3585.2777 | 39438.0548
Water Meters (150) | 25 | 2010 | 11 | 14 | 37500 | 49480.4536 | 1500 | 16500 | 1979.2181 | 21771.3996
Meter Xmit Radios (150) | 10 | 2015 | 6 | 4 | 15000 | 16236.4824 | 1500 | 9000 | 1623.6482 | 9741.8894
Underground Water Main Pipe (23,600 LF ) | 70 | VARIOUS | 23.0212 | 46.9788 | 4720000 | 11966519.8187 | 67428.5714 | 1552285.7143 | 170950.2831 | 3935478.3399
Equipment Shed (s) | 50 | 1990 | 25 | 25 | 10000 | 16406.0599 | 200 | 5000 | 328.1212 | 8203.03
Reserve Totals |  |  |  |  | 5842500 | 13814299.5327 | 98128.5714 | 2055285.7143 | 218081.0293 | 4694416.8086
Total Reserves Needed Today = | 2055285.7143 |  |  | Not Including Water Mains = |  |  |  | 503000
Current $ Reserves in Bank Account = | 0 | [6 empty] | 0
Reserve Deficit $$$ = | 2055285.7143 | [6 empty] | 503000
Replacement Cost per Customer | 41732.1429 | (Connection Fee should be more than this) |  |  |  |  | 8017.8571
Reserve Deficit per Customer | 14680.6122 | [6 empty] | 3592.8571
Annual Amortization per Customer | 700.9184 | per month = | 58.4099 |  |  |  | 30700 | 219.2857 | per month = | 18.2738
Possible Tools to build reserves: | One Time Assessment |  | 1000 | per customer raises |  |  | 140000
| 10-year Assessment |  | 100 | per year per customer raises |  |  | 140000
| Meter Fee Rate Hike |  | $10/bill | raises about: |  |  | 8400 | annually
| Water Rate Hike |  | $1/K gal | raises about:

## Water Main Analysis
Water Main Section | Length | Diameter" | Type | Install Year | Age | Rem Life | Wgt Age | Replace Cost | Annual Depr | Reqd Reserve
Section #1 | 1300 | 4 | PVC | 1977 | 44 | 26 | 57200 | 260000 | 3714.2857 | 163428.5714
Section #2 | 2100 | 6 | C900 | 1991 | 30 | 40 | 63000 | 420000 | 6000 | 180000
Section #3 | 800 | 6 | PVC | 1992 | 29 | 41 | 23200 | 160000 | 2285.7143 | 66285.7143
Section #4 | 6300 | 6 | PVC | 1998 | 23 | 47 | 144900 | 1260000 | 18000 | 414000
Section #5 | 1900 | 6 | PVC | 1998 | 23 | 47 | 43700 | 380000 | 5428.5714 | 124857.1429
Section #6 | 800 | 4 | PVC | 1998 | 23 | 47 | 18400 | 160000 | 2285.7143 | 52571.4286
Section #7 | 2900 | 6 | Transite | 1998 | 23 | 47 | 66700 | 580000 | 8285.7143 | 190571.4286
Section #8 | 800 | 6 | PVC | 1998 | 23 | 47 | 18400 | 160000 | 2285.7143 | 52571.4286
Section #9 | 350 | 6 | Bluebell | 1998 | 23 | 47 | 8050 | 70000 | 1000 | 23000
Section #10 | 1650 | 6 | C900 | 2002 | 19 | 51 | 31350 | 330000 | 4714.2857 | 89571.4286
Section #11 | 1250 | 6 | C900 | 2002 | 19 | 51 | 23750 | 250000 | 3571.4286 | 67857.1429
Section #12 | 2100 | 6 | C900 | 2006 | 15 | 55 | 31500 | 420000 | 6000 | 90000
Section #13 | 1000 | 6 | PVC | 2011 | 10 | 60 | 10000 | 200000 | 2857.1429 | 28571.4286
Section #14 | 350 | 6 | C900 | 2012 | 9 | 61 | 3150 | 70000 | 1000 | 9000
Total Linear Feet | 23600 | 4.4697 | miles |  |  | Wgt Avg Age | 23.0212 | 4720000 | 67428.5714 | 1552285.7143
[6 empty] | Wgt Ave Rem Life | 46.9788
Life of Pipe (Years) | 70
Replacement Cost per Ft | 200